Preparing malaria blood smears v2.0

Procedure

WorldWide Antimalarial Resistance Network (WWARN)

Suggested citation: WWARN Procedure. Preparing malaria blood smears v2.0

Procedure ID: CL10

This procedure was developed by: WWARN who gratefully acknowledge the contribution of Grant Dorsey (University of California, San Francisco)

Version History

| Version number | Revision(s) & reason for amendment | Release Date |
| --- | --- | --- |
| 1.0 | Creation of procedure | 09Sep2011 |
| 2.0 | Updated nomenclature, other minor administrative changes | 14Sep2018 |

For more information, contact:

info@wwarn.org

WorldWide Antimalarial Resistance Network (WWARN)                                                                                                                                                                                                                                                                                                                                                                                                                                        www.wwarn.org

Contents

1. Purpose/scope	4

2. Abbreviations	4

3. Definitions	4

4. Associated forms	4

5. Duties and responsibilities	4

5.1 Tasks	4

5.2 Materials and equipment	4

6. Procedures	5

6.1 Labeling slides	5

6.2 Making smears	5

6.3 Preparation of alkaline and acid buffers	5

6.4. Preparation of Giemsa staining buffer	5

6.5 Staining thick smears	5

6.6 Staining thin smears	6

6.7 Mounting slides	6

6.8 Quality control	6

7. References	6

# 1. Purpose/scope

The purpose of this document is to describe the procedure for preparing thick and thin blood smears, staining with Giemsa, and mounting slides for diagnosing asymptomatic parasitemia, clinical malaria, and monitoring response to antimalarial therapy. Thick smears are generally used to make the diagnosis of malaria, calculate parasite density and look for the presence of gametocytes. Thin smears are generally used to determine the species of malaria parasites. This procedure is intended for use in clinical trials where patients are attending a clinic for antimalarial treatment. Training of staff is required to successfully use the protocol.

# 2. Abbreviations

# mL		Millilitres

# g		Grams

# µL		Microlitres

# 3. Definitions

None

# 4. Associated forms

None

# 5. Duties and responsibilities

5.1 Tasks

Tasks can be assigned to individual(s) capable of their execution and their name entered beside the task listed in the table below and/or as recorded on a delegation of responsibilities/tasks documentation:

|  | Study personnel |
| --- | --- |
| Label slides |  |
| Prepare buffer solutions |  |
| Take blood and make a blood smear |  |
| Stain smear |  |
| Mount slides |  |

5.2 Materials and equipment

- One or two glass slides (thick smear, +/- thin smear)

- Pencil

- One cover slip

- Wooden applicator stick

- Methanol

- DPX (a mixture of distyrene (a polystyrene), a plasticizer (tricresyl phosphate), and xylene,) mounting solution

- Giemsa stain

- Giemsa buffer [Na2HPO4 (dibasic anhydrous), Na2HPO4*H2O (monobasic monohydrate), distilled water)

# 6. Procedures

6.1 Labeling slides

Glass slides should be clean, grease and scratch free and have smooth edges without any cuts. Label the slides appropriately with a pencil on one half of the slide. Write neatly and firmly so that the information can be easily read: Patient ID, Patient initials, Study day, Actual date, Time

6.2 Making smears

- For preparation of a thick smear, between one and three drops of blood should be placed in the centre of the slide and spread around evenly with a wooden stick or the corner of another slide to make a circle or square about 1cm.

- For preparation of a thin smear, a smaller drop of blood should be placed at the end of the slide. Using another slide, the blood can be spread to create a feathered edge that reaches the other end of the slide.

- The smears must be allowed to air dry free from flies and dust. Do not heat the slides as this will damage the parasites.

- The thin smear can be fixed by submerging in 100% methanol for 30 seconds and then letting the slide air dry.

- Since methanol fixation would prevent haemolysis, thick smears should not be fixed with methanol. This allows cell lysis necessary for accurate malaria diagnosis, parasite density calculation and identification of gametocytes.

6.3 Preparation of alkaline and acid buffers

Alkaline buffer (one litre)

Weigh out 9.5 g of Na2HPO4 (dibasic anhydrous)

Dissolve in 900 mL of distilled water

Fill to a total volume of 1 L.

Acid buffer (one litre)

Weigh out 9.2 g of Na2HPO4*H20 (monobasic  monohydrate)

Dissolve in 900 mL of distilled water

Fill to a total volume of 1 L.

6.4. Preparation of Giemsa staining buffer

Mix together the proportions below to achieve a buffer of pH = 6.8:

| Desired pH | Acid buffer (mL) | Alkaline buffer (mL) | Water (mL) |
| --- | --- | --- | --- |
| 6.8 | 50 | 50 | 900 |

Giemsa staining buffer should be prepared every 1-2 weeks as needed.

6.5 Staining thick smears

- Prepare 2 % Giemsa staining solution daily (can be kept for approximately 8 hours).

- Add Giemsa buffer to stain using the following mixture to achieve 2 % Giemsa:

  - 5 mL of buffer plus 100 µL of Giemsa

  - 10 mL of buffer plus 200 µL of Giemsa

  - 20 mL of buffer plus 400 µL of Giemsa.

- Stain slides for 30 minutes with 2 % Giemsa staining solution.

- Rinse slide carefully with distilled water.

- Allow slide to completely dry (time will vary dependent on ambient temperature, but average is 15 minutes).

6.6 Staining thin smears

- After fixing the slide with methanol, allow to dry for 1-2 minutes.

- Stain smears with 2 % Giemsa for 30 minutes.

- Rinse slide carefully with distilled water.

- Allow slide to completely dry (time will vary depending on ambient temperature, but average is 15 minutes).

6.7 Mounting slides

# After slide is dry, place 1-2 drops of DPX mounting solution directly on top of dried blood

# Place a large cover slip on top and then carefully press flat.

6.8 Quality control

The accuracy of results for the diagnosis of malaria and quantification of parasite density is highly dependent on the quality of the preparation of thin and thick smears. Care should always be taken to use clean, new slides and to follow the instructions outlined above.

# 7. References

None