|  | Site name |  | Sample processing and transport flow diagram |
| --- | --- | --- | --- |
| # Trial number |  | # Sponsor |  |
| Cannula or venipuncture sample of 4mls whole blood in a purple top tube  Immediately invert several times avoiding prolonged contact with the rubber stop  Place on ice until centrifugation  Centrifuge within 30 minutes between 3-5°C for 10 minutes at 2000g  Divide the supernatant into 3 aliquots into pre-labelled pre-chilled polypropylene screw-cap tubes: - 0.5ml for PK analysis at [lab2] - 0.5 ml for back-up at [lab2]  - Remainder for long-term storage for further analysis as necessary  Samples to be labelled with abbreviated study number, cohort identification, treatment number and PK sample time-point  Store in -80°C freezer |  |  |  |